Calculations in BATS 2.8

Definitions

Namp = 6.24150948·1012

d:	absolute internal uncertainty (derived from counting statistic)

s:	absolute external uncertainty (-> standard deviation)

ρ:	relative uncertainty (normally external?)

a:	stable isotope (a) current

b:	stable isotope (b) current

r:	radioisotope counts

t:	time

t_s:	multiplication factor for time correction on radioisotope (to multiply with t)

iso:	selectable isobar for background correction (to multiply with bg_s)

diso:	absolute uncertainty for isobar correction factor

bg_s:	background multiplication factor

ρbgs:	relative uncertainty multiplication factor

N:	number of active runs for an isotope

ρcur:	relative uncertainty of current

scur:	relative uncertainty of current

<bl_ra>:	blank ratio (mean value), background corrected!

sblscatter:	scatter of blank (not limited by statistics!)

ssampscatter:	scatter of samples (-> reproducibility limit of sample, excluding counting statistics)

<std_ra>:	standard ratio (mean value), background and blank corrected

<std_ba>:	stable isotope standard ratio (mean value, for ba_nom)

ba_nom:	nominal ratio ba (normally either 0.981 or 0.975 for carbon)

Uncertainties are in general absolute! (Except with index R)

Calculations for every run

Weighting factor

p=acurr⋅t

For b the same (uncertainty neglected).

Stable isotope ratio

Current correction:

acur=a-(a-aoffset)⋅aslope

dacur=ρcur⋅acur+scur   (you can add both, a constant and a relative error!)

The same for b. One should maybe later add an error for the current correction?

Current corrected stable isotope ratio (used):

bacur=bcuracur

dbacur=(dacuracur)2+(dbcurbcur)2⋅bacur

Standard corrected stable isotope ratio (used for 14C):

bafin=bacur⋅banom⟨stdba⟩

dbafin=(dbacurbacur)2+(d⟨stdba⟩⟨stdba⟩)2⋅bafin

∆13C for samples (used, not in per-mil!):
D13C=d13=bacur⋅banom⟨stdba⟩-1=bafin-1

dD13C=(dbacurbacur)2+(d⟨stdba⟩⟨stdba⟩)2bafin=dbafin

Radioisotope ratio

Background counts:

bg=bgs⋅iso

dbg=ρbgs2+(disoiso)2⋅bg

Time and background corrected radioisotope (used):

rcor=(r⋅ts⋅t)-bg

Raw radioisotope ratio (not used):

ra=ra⋅t⋅Namp

dra=r(a⋅t⋅Namp)2+(da⋅rt⋅Namp)2

Current corrected ratio (not used):

racur=racur⋅t⋅Namp

dracur=1r+(dacura)2⋅racur=r(acur⋅t⋅Namp)2+(dacur⋅rt⋅Namp)2

cred2=sracurdracur

Current, time and background corrected ratio (used for bl_ra):

rabg=(r⋅ts⋅t)-bgacur⋅t⋅Namp

drabg=r+(dbg)2(r-bg)2+(dacuracur)2⋅rabg

cred2=sracurdracur

A constant contamination can be set as well, then:

rabg=(m+mcont)⋅(rcoracur⋅t⋅Namp)-mcont⋅racontm

drabg=r+(dbg)2(r-bg)2+(dacuracur)2+(mcontm⋅dcontracont)⋅rabg

Blank corrected ratio (used):

rabl=rabg-⟨blra⟩

drabl=(drabg)2+(d⟨blra⟩)2

cred2=srabldracur

Standard corrected ratio for a single run (never used):

rafin=ranom⟨stdra⟩⋅rabl

drafin=(ranom⟨stdra⟩⋅drabl)2+(ranom⟨stdra⟩2⋅d⟨stdra⟩)2

cred2=srafinrafindracurrabl

The pmC value is then calculated:
pmC=100⋅rafin⋅banom2bafin2
dpmC=100⋅(dbafin2⋅rafin)2+(drafin1+2⋅(0.975-bafin))2

cred2=spmCpmCdracurrabl

Finally the age is calculated:

age=-8033⋅ln(rafin)

dage=drafin⋅8033/rafin

Calculations for every sample

Sum of radioisotopes:

R=∑ri

dR=1∑ri

Mean of currents:

⟨a⟩=∑(t⋅a)∑t

d⟨a⟩=∑(t⋅da)2∑t    not important

s⟨a⟩=∑(t⋅(a-⟨a⟩)2)∑t⋅(N-1)   not important

Mean of Ratios (Used for ra and ra_bg. Used for <bl_ra>):

⟨ra⟩=ira⋅pip=s2s1

s⟨ra⟩=∑(p⋅ra2)-∑(p⋅ra)2∑p∑p⋅(N-1)=s3-s42s1s1⋅(N-1)     if N=1:    s⟨ra⟩=sra

d⟨ra⟩=i(drai⋅pi)2ipi=s5s1
s1=∑p;s2=ira⋅p;s3=∑(p⋅ra2);s4=∑(p⋅ra)2;s5=i(drai⋅pi)2

Mean of ratio with blank correction (used for <std_ra>):

⟨rabl⟩=s(j(s)(rabgsj-⟨blra⟩s)psj)s,jpsj

d⟨rabl⟩=1(s,jpsj)2s(j(s)(drabgsjpsj)2+(psd⟨blra⟩s)2)+sblscatter2

s: standard mean index (s=1, if only one standard mean is calculated for the hole measurement)

j: run index for runs with the same blank mean

s⟨rabl⟩=∑(p⋅(rabl-⟨rabl⟩)2)∑p⋅(N-1)

Mean of ratio with std and blank correction (final ratio for samples):

⟨rafin⟩=s(ranom⟨stdra⟩s⋅j(s)(rabgsj-⟨blra⟩s)psj)s,jpsj

d⟨rafin⟩=s((nomra⟨stdra⟩s)2⋅(j(s)(drabgsj⋅psj)2+(psd⟨blra⟩s)2))+s(nomra⋅d⟨stdra⟩s⟨stdra⟩s2j(s)(rabgsjpsj)2-(psd⟨blra⟩s)2)(s,jpsj)2+sblscatter2+ssampscatter2

s: standard/blank mean index (s=1, if only one standard mean is calculated for the hole measurement)

j: run index for runs with the same standard/blank mean

s⟨rafin⟩=∑(p⋅(rafin-⟨rafin⟩)2)∑p⋅(N-1)

Mean of ratio with std correction only (and no blank correction, not important, never used?):
⟨bafin⟩=s(nomba⟨stdba⟩s⋅j(s)(bacursj⋅psj))s,jpsj
d⟨bafin⟩=1s,jpsjs(nomba2⟨stdba⟩s2j(s)(dbacursjpsj)2)+s(nomba⋅d⟨stdba⟩s⟨stdba⟩s2j(s)(bacur⋅psj))2

s: standard mean index (s=1, if only one standard mean is calculated for the hole measurement)

j: run index for runs with the same standard mean

s⟨bafin⟩=∑(p⋅(bafin-⟨bafin⟩)2)∑p⋅(N-1)